TENDER SPECIFICATIONS

The “AEL-KNX-SFC” unit includes the following elements:

Intrusion devices:

• N-KNX19. KNX/EIB Proximity Sensor Module.

KNX bus voltage: 24 VDC.

Bus inputs/outputs: 2 mm safety sockets.

Working temperature: -5 °C to +45 °C.

• N-KNX33. KNX/EIB Window/Door Contact Module.

KNX bus voltage: 24 VDC.

Bus inputs/outputs: 2 mm safety sockets.

• N-KNX3. KNX/EIB Barrier Sensor Module.

Nominal voltage: 230 VAC.

Frequency: 50 Hz.

KNX bus voltage: 24 VDC.

Mains inputs/outputs: 4 mm safety sockets.

Bus inputs/outputs: 2 mm safety sockets.

• N-KNX7. KNX/EIB Broken Glass Module.

KNX bus voltage: 24 VDC.

Bus inputs/outputs: 2 mm safety sockets.

• N-KNX6. KNX/EIB Bolt Switch Module.

KNX bus voltage: 24 VDC.

Bus inputs/outputs: 2 mm safety sockets.

Working temperature: -20 °C to +60 °C.

Switching current: 300 mA (approx.)

Fire detection devices:

• N-KNX12. KNX/EIB Fire/Smoke Module.

KNX bus voltage: 24 VDC.

Bus inputs/outputs: 2 mm safety sockets.

Current:

Standby: 85 uA (approx.)

Alarm: 100 mA (approx.)

Operating temperature: -10 °C to +70 °C.

Flood devices:

• N-KNX13. KNX/EIB Flooding Sensor Module.

Nominal voltage: KNX bus voltage.

KNX bus voltage: 24 VDC.

Operating temperature: -10 °C to +50 °C.

Required elements (Not included):

• AEL-KNX-UB. AEL-KNX Base Unit.

• N-KNX34. KNX/EIB USB Programming Interface Module.

Power supply: KNX line, 21…30 VDC.

Current consumption (max.): < 5 mA.

USB connection: USB2.0 connector.

• N-KNX18. KNX/EIB Power Supply Module.

Power supply: 230 VAC.

Maximum load: 640 mA.

Output voltage: 24 VDC.

• N-KNX4. KNX/EIB Binary Input Module.

Nominal voltage: 230 VAC.

Frequency: 50 Hz.

KNX bus voltage: 24 VDC.

Mains inputs/outputs: 4 mm safety sockets.

Bus inputs/outputs: 2 mm safety sockets.

• N-KNX5. KNX/EIB Binary Output Module. (2 units).

Nominal voltage: 230 VAC.

Frequency: 50 Hz.

KNX bus voltage: 24 VDC.

Mains inputs/outputs: 4 mm safety sockets.

Bus inputs/outputs: 2 mm safety sockets.

• N-KNX30. Módulo de Panel Táctil KNX/EIB.

Nominal voltage: 230 VAC.

Frequency: 50 Hz.

KNX bus voltage: 24 VDC.

Mains inputs/outputs: 4 mm safety sockets.

Bus inputs/outputs: 2 mm safety sockets.

• N-KNX35. KNX/EIB Infrared Transmitter/Receiver Module.

The IR remote is powered by two batteries of type alkaline (LR03/AAA; 1,5V).

Normal functions:

Switching.

Switching and dimming.

Control of blinds.

• MED65. Digital Multimeter.

Digital multimeter with 3 ½ digits, with 4 mm double connector termination cables to facilitate interconnections.

With this digital multimeter we will be able to measure:

Voltage.

Current.

Resistance.

Capacitors capacity.

Temperature.

• All necessary cables to realize the practical exercises are included.

Cables and accessories, for normal operation.

Manuals:

This unit is supplied with the following manuals: Required services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices manuals.

- Dimensions: 640 x 320 x 670 mm approx. (25.19 x 12.59 x 26.37 inches approx.)  - Weight: 60 Kg approx. (132 pounds approx.)

EXERCISES AND PRACTICAL POSSIBILITIES

1.- Basic Integration of the Security Control System: connection of the power supply for the KNX devices in the security control system.

2.- Connection of the KNX Room Controller: integration of the KNX room controller for centralized control of safety functions. Configuration of functions and programming of safety scenarios.

3.- Connection of the KNX Binary Input Module: connection and integration of the KNX binary input module to detect safety events. Programming of actions based on detected states.

4.- Connection of KNX Binary Output Module for Control of Safety Devices: connection and configuration of the KNX binary output module for effective control of safety devices. Adjustment of response times and activation settings.

5.- Simulation of Scenarios with Alarm Box: use of the buzzer box to simulate alarm situations and evaluate the response of the security system. Adjustment of responses according to different events.

6.- Connection and Integration of Intrusion Detectors and Security Zones: connection and programming of KNX intrusion detectors and security zones. Configuration of actions in case of intrusion detection.

7.- Connection of Sirens and Alarms: integration and configuration of sirens and alarms for emergency situations.

8.- Connection of KNX Smoke and Fire Detectors: integration and programming of smoke and fire detectors in the KNX system. Configuration of automatic responses and notifications.

9.- Connection of KNX Temperature and Presence Detectors: integration and configuration of temperature and presence detectors for the security of the environment. Programming of actions in case of specific events.

10.- Connection of KNX Flood Detectors: integration and programming of flood detectors for security against water damage. Configuration of automatic responses.

Project creation in ETS and topology definition:

11.- Creation of a New Project in ETS: development of a new project from scratch with the ETS software and definition of general features and establishment of basic topology of the KNX system.

12.- Bus Topology Definition: configuration of the KNX bus topology, identification of devices and establishment of physical addresses.

13.-	Assignment of Physical Addresses: assignment of physical addresses to KNX devices in the project and following of addressing standards and recommendations.

14.- Topology Verification: verification of the consistency of the configuration and compliance with KNX system requirements.

KNX Device Diagnostics:

15.- Use of Diagnostic Tools: use of diagnostic tools in the ETS software to verify communication and status of KNX devices.

16.- Communication Testing: performing communication tests between KNX devices and the bus and identifying and solving possible connection problems.

17.- Telegram Analysis: analysis of telegrams sent and received by KNX devices, identification of possible errors or interferences in the network.

18.- Troubleshooting: diagnosis and resolution of configuration or connection errors in KNX devices and use of diagnostic tools available in the ETS software.

19.- Event Logging: use of event logging functions to monitor and analyze the behavior of KNX devices under different operating conditions.

Optional

AEL-KNX-SFC/ICAI. Interactive Computer Aided Instruction Software:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.