TENDER SPECIFICATIONS

The “AEL-KNX” unit includes the following elements:

The “AEL-KNX-UB” base unit includes the following elements:

• N-KNX34. KNX/EIB USB Programming Interface Module.

Power supply: KNX line, 21…30 VDC.

Current consumption (max.): < 5 mA.

USB connection: USB2.0 connector.

• N-KNX18. KNX/EIB Power Supply Module.

Power supply: 230 VAC.

Maximum load: 640 mA.

Output voltage: 24 VDC.

• N-KNX4. KNX/EIB Binary Input Module.

Nominal voltage: 230 VAC.

Frequency: 50 Hz.

KNX bus voltage: 24 VDC.

Mains inputs/outputs: 4 mm safety sockets.

Bus inputs/outputs: 2 mm safety sockets.

• N-KNX5. KNX/EIB Binary Output Module. (2 units).

Nominal voltage: 230 VAC.

Frequency: 50 Hz.

KNX bus voltage: 24 VDC.

Mains inputs/outputs: 4 mm safety sockets.

Bus inputs/outputs: 2 mm safety sockets.

• N-KNX30. Módulo de Panel Táctil KNX/EIB.

Nominal voltage: 230 VAC.

Frequency: 50 Hz.

KNX bus voltage: 24 VDC.

Mains inputs/outputs: 4 mm safety sockets.

Bus inputs/outputs: 2 mm safety sockets.

• N-KNX35. KNX/EIB Infrared Transmitter/Receiver Module.

The IR remote is powered by two batteries of type alkaline (LR03/AAA; 1,5V).

Normal functions:

Switching.

Switching and dimming.

Control of blinds.

• MED65. Digital Multimeter.

Digital multimeter with 3 ½ digits, with 4 mm double connector termination cables to facilitate interconnections.

With this digital multimeter we will be able to measure:

Voltage.

Current.

Resistance.

Capacitors capacity.

Temperature.

Required elements (at least one) (Not included):

AEL-KNX-LIC. KNX Lighting Control Training Application.

• N-KNX19. KNX/EIB Proximity Sensor Module.

KNX bus voltage: 24 VDC.

Bus inputs/outputs: 2 mm safety sockets.

Working temperature: -5 °C to +45 °C.

• N-KNX20. KNX/EIB Push-Button Module.

Pushbuttons can be programmed for 1 or 2-button operation.

1 and 2 button operation for switching, dimming, blinds.

Change of values / scenes with up to 4 values.

Short/long push button and 2 object operation.

Group control with long/long button press.

• N-LAM32. One LED Lamp Module. (4 units).

Lamp led 24 VCD.

• N-KNX8. KNX/EIB Dimmer Actuator Module

DALI dimmable driver.

Power: 2 – 21 W.

Input voltage: 230 VAC.

Output voltage: 9 – 42 V.

• N-DKG. DALI-KNX Gateway Module.

Input voltage: 240 VAC.

Frequency: 50/60 Hz.

Communication port protocol: DALI.

Gateway: KNX/DALI.

• N-DAC. DALI Controller Module.

DALI input controller.

4 independent inputs for floating contacts.

For standard snap-action switch or circuit breaker connections.

Power supply via DALI line: 24 VDC.

AEL-KNX-HVAC. KNX for HVAC Control Training Application.

• N-KNX1. KNX/EIB Heating Actuator Module.

Nominal voltage: 230 VAC.

Frequency: 50 Hz.

KNX bus voltage: 24 VDC.

Mains inputs/outputs: 4 mm safety sockets.

Bus inputs/outputs: 2 mm safety sockets.

• N-KNX17. N-KNX17. KNX/EIB Movement Sensor Module.

Movement sensor for bus system KNX.

Max. transmission range frontally 7 m.

Number of channels: 1.

• N-KNX29. KNX/EIB Temperature Sensor Module.

KNX bus voltage: 24 VDC.

Bus inputs/outputs: 2 mm safety sockets.

Range measurement: 0 – 40 °C (approx.).

• N-KNX33. KNX/EIB Window/Door Contact Module.

KNX bus voltage: 24 VDC.

Bus inputs/outputs: 2 mm safety sockets.

Additional recommended elements (Not included):

• EH-KNX. Electric Heating Unit with Remote Control 0 – 10 V.

Nominal voltage: 230 VAC.

Thermal resistance: 700 W.

Manual ON/OFF switch.

NTC temperature probe.

230 VAC fan.

• N-KNX10. KNX/EIB Energy Meter Module.

KNX bus voltage: 24 VDC.

Bus inputs/outputs: 2 mm safety sockets.

This module allows measure:

Active power.

Active energy.

Current.

Voltage.

• N-VVCA. Advanced AC Motor Speed Controller Module.

Supply voltage: 230 VAC.

Nominal power: 0.75 kW.

PWM output voltage connections:

Three-Phases: 230 VAC.

Digital inputs control panel: 5 configurable digital inputs.

Analog inputs control panel:

0 – 10 V analog input for speed control.

4 – 20 mA analog input for speed control.

10 K, potentiometer for the induction motor control speed.

Two relay outputs for alarms configuration: 2 outputs NO/NC.

50 mA, two transistor outputs for alarms configuration.

Setting and visualization display of the machine parameters.

AEL-KNX-BC. KNX Blind Control Training Application.

• N-KNX20. KNX/EIB Push-Button Module.

KNX bus voltage: 24 VDC.

Switch ON / OFF.

Mains inputs/outputs: 4 mm safety sockets.

Bus inputs/outputs: 2 mm safety sockets.

• N-KNX24. KNX/EIB Shutter/Blind Actuator Module.

Operation as NC/NO contact.

Delay functions for each channel.

Staircase illumination function.

Switch-off pre-warning for staircase illumination function.

Scenes.

Central function.

Blocking function.

Logical operations or priority control.

8 binary outputs.

• N-KNX19. KNX/EIB Proximity Sensor Module.

KNX bus voltage: 24 VDC.

Bus inputs/outputs: 2 mm safety sockets.

Working temperature: -5 °C to +45 °C.

• STR-MB. Motorized Shutter Structure.

Aluminum structure

Motorized shutter

Connection terminals for shutter control.

AEL-KNX-SFC. KNX Security Control Training Application: Fire, Anti-intrusion, Floods, etc.

Intrusion devices:

• N-KNX19. KNX/EIB Proximity Sensor Module.

KNX bus voltage: 24 VDC.

Bus inputs/outputs: 2 mm safety sockets.

Working temperature: -5 °C to +45 °C.

• N-KNX33. KNX/EIB Window/Door Contact Module.

KNX bus voltage: 24 VDC.

Bus inputs/outputs: 2 mm safety sockets.

• N-KNX3. KNX/EIB Barrier Sensor Module.

Nominal voltage: 230 VAC.

Frequency: 50 Hz.

KNX bus voltage: 24 VDC.

Mains inputs/outputs: 4 mm safety sockets.

Bus inputs/outputs: 2 mm safety sockets.

• N-KNX7. KNX/EIB Broken Glass Module.

KNX bus voltage: 24 VDC.

Bus inputs/outputs: 2 mm safety sockets.

• N-KNX6. KNX/EIB Bolt Switch Module.

KNX bus voltage: 24 VDC.

Bus inputs/outputs: 2 mm safety sockets.

Working temperature: -20 °C to +60 °C.

Switching current: 300 mA (approx.)

Fire detection devices:

• N-KNX12. KNX/EIB Fire/Smoke Module.

KNX bus voltage: 24 VDC.

Bus inputs/outputs: 2 mm safety sockets.

Current:

Standby: 85 uA (approx.)

Alarm: 100 mA (approx.)

Operating temperature: -10 °C to +70 °C.

Flood devices:

• N-KNX13. KNX/EIB Flooding Sensor Module.

Nominal voltage: KNX bus voltage.

KNX bus voltage: 24 VDC.

Operating temperature: -10 °C to +50 °C.

AEL-KNX-BMS. Building Control Training Application via BMS.

• N-KNX36. KNX/EIB Building Management System Controller (BMS).

KNX Space Link Web Server:

Type: KNX web server.

Functions: Facilitates the connection and remote control of the KNX system through a web interface.

Connectivity: Compatible with standard KNX networks.

Security: Implements security measures for remote management.

• All necessary cables to realize the practical exercises are included.

Cables and accessories, for normal operation.

Manuals:

This unit is supplied with the following manuals: Required services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices manuals.

AEL-KNX-LIC: - Dimensions: 640 x 320 x 670 mm approx.  (25.19 x 12.59 x 26.37 inches approx.) - Weight: 60 Kg approx. (132 pounds approx.)

AEL-KNX-HVAC: - Dimensions: 640 x 320 x 670 mm approx.  (25.19 x 12.59 x 26.37 inches approx.) - Weight: 60 Kg approx. (132 pounds approx.)

AEL-KNX-BC: - Dimensions: 640 x 320 x 670 mm approx.  (25.19 x 12.59 x 26.37 inches approx.) - Weight: 60 Kg approx. (132 pounds approx.)

AEL-KNX-SFC: - Dimensions: 640 x 320 x 670 mm approx.  (25.19 x 12.59 x 26.37 inches approx.) - Weight: 60 Kg approx. (132 pounds approx.)

AEL-KNX-BMS: - Dimensions: 640 x 320 x 670 mm approx.  (25.19 x 12.59 x 26.37 inches approx.) - Weight: 60 Kg approx. (132 pounds approx.)

EXERCISES AND PRACTICAL POSSIBILITIES

Some practical possibilities with KNX Lighting Control Training Application, “AEL-KNX-LIC”:

1.- Realization of Binary Luminaire Control: Integration of LED luminaires into the installation, programming of the control using the KNX binary output module. Application of wiring techniques for safe connection.

2.- Connection of the Brightness Sensor: connection of the KNX brightness sensor, configuration for automatic adjustment of the lighting according to ambient light conditions.

3.- Manual Interaction with KNX Push Button: connection and integration of a KNX push button, programming for manual switching on and off of the lights in the room.

4.- Installation of the KNX Room Controller with Touchscreen: configuration of the KNX room controller with touchscreen, exploration of the functions and programming capabilities.

5.- Connection and Integration KNX/DALI: connection of a DALI light controller, integration into the KNX system for unified control of DALI luminaires.

Project creation in ETS and topology definition:

6.- Creation of a New Project in ETS: development of a new project from scratch with the ETS software and definition of general features and establishment of basic topology of the KNX system.

7.- Bus Topology Definition: configuration of the KNX bus topology, identification of devices and establishment of physical addresses.

8.- Physical Address Assignment: assignment of physical addresses to KNX devices in the project and following of addressing standards and recommendations.

9.- Topology Verification: verification of configuration consistency and compliance with KNX system requirements.

KNX Device Diagnostics:

10.- Use of Diagnostic Tools: use of diagnostic tools in the ETS software to verify communication and status of KNX devices.

11.- Communication Testing: performing communication tests between KNX devices and the bus and identification and resolution of possible connection problems.

12.- Telegram Analysis: analysis of telegrams sent and received by KNX devices, identification of possible errors or interferences in the network.

13.- Troubleshooting: diagnosis and resolution of configuration or connection errors in KNX devices and use of diagnostic tools available in the ETS software.

14.- Event Logging: use of event logging functions to monitor and analyze the behavior of KNX devices under different operating conditions.

Some practical possibilities with KNX for HVAC Control Training Application, “AEL-KNX-HVAC”:

15.- Basic Integration of the HVAC System: connection and configuration of the power supply and application of wiring techniques to ensure a safe installation.

16.- Connection of the KNX Room Controller: integration of the KNX room controller for centralized climate control, configuration of functions and temperature parameters.

17.- Connection of the Temperature and Presence Sensor: connection and integration of the KNX temperature and presence sensor, programming for automatic adjustment of the climate control according to the ambient conditions.

18.- KNX Fan Coil Control: connection and configuration of the KNX four-pipe and two-pipe fan coil controller, setting of ventilation and temperature parameters.

19.- Room Temperature Simulation with Integrated Potentiometer: use of the potentiometer for the simulation of temperature variations. Evaluation of the response of the HVAC system to simulated changes. Use of 0-10V analog voltmeters for monitoring air conditioning control signals.

20.- Adjusting Temperature Parameters from the Touch Screen Controller: making adjustments to climate control parameters from the touch screen controller. Exploration of advanced functions and configuration of scenarios.

Creating Projects in ETS and Topology Definition:

21.- Creation of a New Project in ETS: development of a new project from scratch with the ETS software and definition of general characteristics and establishment of basic topology of the KNX system.

22.- Bus Topology Definition: configuration of the KNX bus topology, identification of devices and establishment of physical addresses.

23.- Physical Address Assignment: assignment of physical addresses to KNX devices in the project and following of addressing standards and recommendations.

24.- Topology Verification: verification of configuration consistency and compliance with KNX system requirements.

KNX Device Diagnostics:

25.- Use of Diagnostic Tools: use of diagnostic tools in the ETS software to verify communication and status of KNX devices.

26.- Communication Testing: performing communication tests between KNX devices and the bus and identification and resolution of possible connection problems.

27.- Telegram Analysis: analysis of telegrams sent and received by KNX devices, identification of possible errors or interferences in the network.

28.- Troubleshooting: diagnosis and resolution of configuration or connection errors in KNX devices and use of diagnostic tools available in the ETS software.

29.- Event Logging: use of event logging functions to monitor and analyze the behavior of KNX devices under different operating conditions.

Additional practice with the recommended modules EH-RC, N-KNX10, N-VVCA:

30.- Actual temperature control of the heating unit. Connection of the control signals from the fan coil module to the frequency converter, connection of the frequency converter to the fan, connection of the temperature sensor to the input terminals of the fan coil controller. Commissioning the system and setting the control parameters.

31.- Measurement of energy consumption of electric heating and programming of conditions according to consumption.

Some practical possibilities with KNX Blind Control Training Application, “AEL-KNX-BC”:

32.- Basic Integration of the Blind Control System: connection of the power supply for the KNX devices in the blind control system.

33.- Connection of the KNX Room Controller: integration of the KNX room controller for centralized blind control and configuration of functions and scenario programming.

34.- Connection of KNX Binary Output Module for Shutter Control: connection and configuration of the KNX binary output module for effective shutter control. Adjustment of response times and configuration of positions.

35.- Use of KNX Brightness Sensors: connection and integration of KNX brightness sensors for automatic adjustment of blinds according to lighting. Programming of thresholds and conditions.

36.- Connection of Pushbutton Modules for Manual Interaction: integration of KNX pushbutton modules to allow manual interaction with the blinds. Programming of up, down and stop functions.

37.- Shutter Motor: Connection and Integration: Connection and programming of the shutter motor.

Project creation in ETS and Topology definition:

38.- Creation of a New Project in ETS: development of a new project from scratch with the ETS software and definition of general characteristics and establishment of the basic topology of the KNX system.

39.- Bus Topology Definition: configuration of the KNX bus topology, identification of devices and establishment of physical addresses.

40.- Physical Address Assignment: assignment of physical addresses to KNX devices in the project and following of addressing standards and recommendations.

41.- Topology Verification: verification of configuration consistency and compliance with KNX system requirements.

KNX Device Diagnostics:

42.- Use of Diagnostic Tools: use of diagnostic tools in the ETS software to verify communication and status of KNX devices.

43.- Communication Testing: performing communication tests between KNX devices and the bus and identification and resolution of possible connection problems.

44.- Telegram Analysis: analysis of telegrams sent and received by KNX devices, identification of possible errors or interferences in the network.

45.- Troubleshooting: diagnosis and resolution of configuration or connection errors in KNX devices and use of diagnostic tools available in the ETS software.

46.- Event Logging: use of event logging functions to monitor and analyze the behavior of KNX devices under different operating conditions.

Some practical possibilities with KNX Security Control Training Application: Fire, Anti-intrusion, Floods, etc., “AEL-KNX-SFC”:

47.- Basic Integration of the Security Control System: connection of the power supply for the KNX devices in the security control system.

48.- Connection of the KNX Room Controller: integration of the KNX room controller for centralized control of safety functions. Configuration of functions and programming of safety scenarios.

49.- Connection of the KNX Binary Input Module: connection and integration of the KNX binary input module to detect safety events. Programming of actions based on detected states.

50.- Connection of KNX Binary Output Module for Control of Safety Devices: connection and configuration of the KNX binary output module for effective control of safety devices. Adjustment of response times and activation settings.

51.- Simulation of Scenarios with Alarm Box: use of the buzzer box to simulate alarm situations and evaluate the response of the security system. Adjustment of responses according to different events.

52.- Connection and Integration of Intrusion Detectors and Security Zones: connection and programming of KNX intrusion detectors and security zones. Configuration of actions in case of intrusion detection.

53.- Connection of Sirens and Alarms: integration and configuration of sirens and alarms for emergency situations.

54.- Connection of KNX Smoke and Fire Detectors: integration and programming of smoke and fire detectors in the KNX system. Configuration of automatic responses and notifications.

55.- Connection of KNX Temperature and Presence Detectors: integration and configuration of temperature and presence detectors for the security of the environment. Programming of actions in case of specific events.

56.- Connection of KNX Flood Detectors: integration and programming of flood detectors for security against water damage. Configuration of automatic responses.

Project creation in ETS and topology definition:

57.- Creation of a New Project in ETS: development of a new project from scratch with the ETS software and definition of general features and establishment of basic topology of the KNX system.

58.- Bus Topology Definition: configuration of the KNX bus topology, identification of devices and establishment of physical addresses.

59.-	Assignment of Physical Addresses: assignment of physical addresses to KNX devices in the project and following of addressing standards and recommendations.

60.- Topology Verification: verification of the consistency of the configuration and compliance with KNX system requirements.

KNX Device Diagnostics:

61.- Use of Diagnostic Tools: use of diagnostic tools in the ETS software to verify communication and status of KNX devices.

62.- Communication Testing: performing communication tests between KNX devices and the bus and identifying and solving possible connection problems.

63.- Telegram Analysis: analysis of telegrams sent and received by KNX devices, identification of possible errors or interferences in the network.

64.- Troubleshooting: diagnosis and resolution of configuration or connection errors in KNX devices and use of diagnostic tools available in the ETS software.

65.- Event Logging: use of event logging functions to monitor and analyze the behavior of KNX devices under different operating conditions.

Some practical possibilities with Building Control Training Application via BMS, “AEL-KNX-BMS”:

66.- Basic Integration of BMS System with KNX: Power supply connection for KNX and BMS devices.

67.- BMS Project Creation in ETS: Developing a new BMS project from scratch in the ETS software. Defining general features and establishing the basic topology of the KNX system in building management.

68.- Definition of BMS Bus Topology: Configuring the KNX bus topology within the BMS system. Identifying devices and assigning physical addresses.

69.- Physical Address Assignment in BMS Project: Assigning physical addresses to KNX devices within the BMS project. Adhering to standards and recommendations for effective addressing.

70.- Integration of Environmental Sensors in BMS System: Connecting and integrating temperature, humidity, and other environmental sensors. Programming automatic responses in the KNX system to manage the building environment.

71.-	Lighting Control with BMS: Configuring a BMS controller to advanced manage the KNX lighting system. Programming scenarios and adjusting lighting parameters.

72.- Integration of HVAC Systems with KNX: Connecting and integrating HVAC systems into the KNX system via BMS. Adjustment of temperature parameters.

73.- Efficient Shutter Management: Configuring KNX actuators for efficient shutter management in collaboration with the BMS system.

74.- Energy Consumption Monitoring: Connecting energy meters and configuring energy consumption monitoring in the BMS system. Programming alarms and data visualization.

75.- Integration of Security Systems: Connecting and integrating security systems (alarms) with the KNX system through BMS. Configuring automatic responses in case of security events.

76.- Use of BMS Diagnostic Tools in ETS: Exploring diagnostic tools in the ETS software to monitor and diagnose the KNX network in the context of BMS. Analysis of events and diagnostic logging.

Optional

AEL-KNX/ICAI. Interactive Computer Aided Instruction Software:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.