TENDER SPECIFICATIONS

The “M99” unit mainly consists of:

Analog Multiplexer. It allows the user to select between two analog signals. There is a digital control signal for selecting the input signal.

- Two input signals.

- Input Voltage: ±10 V max.

- TTL compatible control signal.

Analog Multiplier. Includes a potentiometer to control the gain of the multiplier.

- Two input signals.

- Input Voltage: ±10 V max.

Function Generator. It allows the user to generate three different signals types: sinusoidal, square and sawtooth. The frequency and amplitude of the signals can be adjusted using the potentiometers.

- Sine, square and sawtooth signals.

- Amplitude: ±10 V.

- Frequency: 0 Hz – 100 Hz.

AM Modulator. It allows the user to generate an AM signal. The frequency of the carrier signal can be selected by using a potentiometer.

- AM-DSB modulator.

- Carrier frequency: 1000 Hz max.

AM Demodulator. It allows the user to demodulate an AM signal. The demodulator is divided in different blocks: mixer, IF amplifier, envelope detector and audio filter. The frequency of the local oscillator generated for the tuning can be selected by using a potentiometer. All outputs of these blocks can be observed using the output terminals.

- Tuning circuit.

- IF amplifier (455 Hz).

- Envelope detector.

- Audio signal filter.

DC source module:

- +/- 12 VDC.

- +/- 5 VDC.

Cables and accessories, for normal operation.

Manuals: This unit is supplied with the following manuals: Required Services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices Manuals.

Dimensions: 490 x 330 x 310 mm approx. (19.29 x 12.99 x 12.20 inches approx). Weight: 6 Kg approx. (13 pounds approx).

EXERCISES AND PRACTICAL POSSIBILITIES

1.- Time division multiplexing (TDM).

2.- Analog signals multiplying.

3.- Amplitude modulation.

4.- Amplitude demodulation.

Optional

M99/ICAI. Interactive Computer Aided Instruction Software:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.