TENDER SPECIFICATIONS

Bench-top unit with adjustable legs.

Anodized aluminum frame and panels made of painted steel.

Main metallic elements made of stainless steel.

Diagram in the front panel with distribution of the elements similar to the real one.

Crystallizer composed of jacketed reactor made in glass (1 litre of capacity), which includes temperature sensors and stirrer. Batch operation.

Double blade stirrer.

The crystallization reactor is thermally controlled by means of heated water circulating in the reactor jacket.

Thermostatic bath of 600 W, with feed water impulsion pump.

Water flowmeter, rotameter type, rage:0 – 2  l/min.

Four two-way valves to allow the water circulation, according to the process.

Three temperature sensors, “J“ type, located at key points of the system.

Pressure regulation valve to protect the system, range: 0.5 – 6 bar.

Conductivity meter to measure the solution conductivity, range: to 2000 mS.

Set of sieves, composed of:

Three sieves of different light size: 0.5 mm/1 mm/2 mm

Vessel to collect the crystals, capacity: 2  l.

Protection devices for the electric circuits.

Electronic console:

Metallic box.

Temperature sensors connections.

Selector for temperature sensors.

Digital display for surpervising the temperature and the conductivity.

Pump switch.

Stirred switch.

Thermostatic bath controller.

Magnetothermal protection switch.

Protection fuses.

Cables and Accessories, for normal operation.

Manuals:This unit is supplied with following manuals: Required Services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices Manuals.

Additional recommended elements (Not included):

- QUCB/C. Continuous Feed Unit.

The Continuous Feed Unit, “QUCB/C” is complementary to the “QUCB” unit, which allows to turn the Crystallizer into continuous.

It consists of a jacketed reactor where the supersaturated solution is obtained. This reactor, in the upper part, has a stirrer to dissolve the salt, under study, in the solution.

The “QUCB/C” unit has an external thermostatic bath that allow to control the reaction temperature and then to obtain supersaturated solution at high temperatures.

A peristaltic pump supplies the supersaturated solution in a continuous way to the crystallizer.

So, the supply of this accessory will allow to compare the batch crystallization and the continuous crystallization.

Specifications:

Jacketed reactor, made in glass.

Double blade stirrer.

Peristaltic pump with variable speed, range: 0 – 30 ml/min.

Dimensions:  Unit: 800 x 700 x 1000 mm approx. (31.49 x 27.55 x 39.36 inches approx.). Weight: 55 Kg approx. (121.25 pounds approx.)

Electronic console: 490 x 330 x 310 mm approx. (19.29 x 12.99 x 12.20 inches approx.). Weight: 10 Kg approx. (22 pounds approx.).

QUCB/C: 600 x 400 x 900 mm approx. (23.62 x 15.74 x 35.43 inches approx.). Weight: 25 Kg approx. (55.11 pounds approx.).

EXERCISES AND PRACTICAL POSSIBILITIES

1.- Understanding the principles of solution cooling crystallization.

2.- Study of crystal size distribution.

3.- Batch operation.

4.- Obtaining crystals by the cooling method.

5.- Demonstration of the effects of varying the following parameters on the crystallization process:

Concentration of solute.

Stirring level.

Cooling temperature.

Solute supply flow (“QUCB/C is required).

Additional practical possibilities:

6.- Mass and energy balances.

7.- Evaluation of crystallization efficiency and crystallization kinetics.

8.- Operation in continuous (“QUCB/C is required).

Optional

QUCB/ICAI. Interactive Computer Aided Instruction Software:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.