TENDER SPECIFICATIONS

Bench-top unit

Anodized aluminum frame and panels made of painted steel.

Diagram in the front panel with distribution of the elements similar to the real one.

The “STU” unit mainly consists of:

Oval channel with test section:

Height: 160 mm.

Width 55 – 75 mm.

Test section:

Flow rectifier to avoid turbulence at the inlet of the test section.

Length: 680 mm.

Cross section: 50 x 210 mm.

Depression: 50 mm.

Blade wheel:

Fourteen vanes.

Diameter: 350 mm.

Adjustable speed electric motor : 5 – 75 rpm.

Three different bridge piers to observe river obstacle traces.

Electronic console:

Metallic box.

Electric motor connector.

ON/OFF switch for the electric motor.

Electric motor speed controller.

Main switch.

Cables and accessories, for normal operation.

Manuals: This unit is supplied with the following manuals: Required Services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices manuals.

Unit:  - Dimensions: 1000 x 400 x 590 mm approx. (39.36 x 15.74 x 23.22 inches approx.) - Weight: 35 Kg approx. (77 pounds approx.)

Electronic console: - Dimensions:  300 x 190 x 130 mm approx. (11.81 x 7.48 x 5.12 inches approx.) - Weight: 3 Kg approx. (6.6 pounds approx.)

EXERCISES AND PRACTICAL POSSIBILITIES

1.- Study of sediment transport in open channels.

2.- Study of different sediment structures such as ripples and dunes.

3.- Determination of the initial conditions for the transport of sediments carried by the current.

4.- Study of the formation of fluvial obstacle tracks.

5.- Study of the influence of flow velocity on bottom transport.

6.- Study of the influence of sand size and density on the bottom transport.

7.- Study and observation of suspended matter flows.

Optional

STU/ICAI. Interactive Computer Aided Instruction Software:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.