TENDER SPECIFICATIONS

The “WIT-IEP” application includes the following elements:

• FP-STR. Assembly Frame with Safe Electrical Power Supply.

Aluminum frame:

Three aluminum struts.

Easy assembly of components via hammer head screws.

Possibility of simultaneous work of several students.

Four swiveling casters to facilitate the movement.

Dimensions:

Frame height: 1800 mm.

Useful working height: 1000 mm.

Width: 1500 mm.

Three-phase connection plug.

Safe electric box:

Differential magnetothermal 4 poles, 25 A, 30 mA AC 6 kA.

Emergency stop push-button (230/400 VAC).

5-wire hose for connection to frame.

Signal lamp of voltage presence.

• FP-KIT-1. Feeders Installation Kit.

Magnetothermal differential circuit breaker.

Encapsulated three-phase fuse holder.

Cartridge fuses.

Electrical panel.

• FP-KIT-4. Wiring Installation Kit.

100 m of grey wire of 1.5 mm².

100 m of brown wire of 1.5 mm².

100 m of black wire of 1.5 mm².

100 m of green/yellow wire of de 1.5 mm².

25 m of screened wire.

• FP-KIT-9. 400 VAC Circuit Breakers Kit.

Five three pole circuit breakers:

Nominal voltaje of power terminals: 400 VAC.

Nominal voltaje of control terminals: 230 VAC.

Nominal voltaje coil: 230 VAC.

Auxiliary contacts: 3 NO / 2 NC.

Case for storing contactors.

• FP-KIT-10. Tubes and Fittings for Channeling Wiring Kit.

PVC electrical conduit for wiring installation, 20 m.

7 x Electrical box.

Cable guide.

20 x Cable clamp, 20 mm.

• FP-KIT-24. Differential Circuit Breakers Kit.

Differential circuit breaker, selective (S), 4 poles, 63 A, 300 mA, A.

Differential circuit breaker, 2 poles, 25 A, 300 mA, A.

Differential circuit breaker, 2 poles, 25 A, 10 mA, A.

Differential circuit breaker, 2 poles, 25 A, 30mA, AC.

Case for storing differential circuit breakers.

• FP-KIT-25. Magnetothermal Circuit Breakers Kit.

Magnetothermal circuit breaker, 4 poles, 16 A, C curve, 6 kA.

Magnetothermal circuit breaker, 2 poles, 10 A, C curve, 6 kA.

Magnetothermal circuit breaker, 2 poles, 6 A, C curve, 6 kA.

Magnetothermal circuit breaker, 2 poles, 6 A, B curve, 6 kA.

Case for storing differential circuit breakers.

• FP-KIT-27. Thermal Relays Kit.

Thermal relay:

Three-phase.

Adjustable current range: 2.5 - 4 A.

Auxiliary contacts: NO / NC.

Contactor 4P, 230 VAC.

Electronic thermal relay:

Three-phase.

Adjustable current range: 1 - 4 A.

Auxiliary contacts: NO / NC.

Contactor 4P, 230 VAC.

Case for storing thermal relays.

• FP-KIT-28. Overvoltage Protection Kit.

Transient overvoltage suppressor: 3P + 1P.

Rotects against transient overvoltage.

Class: 2.

Case for storing overvoltage suppressors.

• FP-KIT-30. Electrical Protections Testing Kit.

Unit to inject differential adjustable current for testing:

Current range: 0 - 100 mA.

Unit to inject adjustable current for magnetothermal testing:

Current range: 0 - 150 A.

Required elements (Not included):

• CHER. Tool Box.

Crimper.

Tin.

Meter.

Insulating tape.

Heat shrink.

Pin punch.

Star and flat screwdrivers.

Allen keys.

Soldering iron and soldering iron support.

Rubber hammer.

Connection terminals.

Cable ties.

Cable cutters.

Clamps.

Additional recommended elements (Not included):

• MED65. Digital Multimeter.

This module has a digital multimeter of about 3 ½ digits, with double-jack ending cables of about 4 mm to facilitate interconnections.

With this digital multimeter we will be able to measure:

Voltage.

Current.

Resistance.

Capacitors capacity.

Temperature.

• FP-KIT-5. Measuring Kit.

Clamp meter:

Clamp for alternating/direct current measurements contactless.

The clamp can measure:

Current.

Voltage.

Resistance.

A voltage and continuity tester:

Voltage range: 12 - 690 VAC.

Phases rotating detection in three-phase systems.

Polarity tester.

• FP-KIT-10/B. Rigid Tube Kit.

20 m PVC rigid tube.

10 x Threaded connector.

5 x Elbow for conducts clamping.

• FP-KIT-26. Isolation Transformers Kit.

Single-phase isolation transformer, 230/230 VAC, 400 VA.

Single-phase isolation transformer, 230/24 VAC, 100 VA.

Three-phase isolation transformer, 230/230 VAC.

• FP-KIT-31. Three-Phase Line with Fault Simulation Kit.

Section of three-phase line with neutral conductor and earth conductor.

Multifunction unit for earth fault simulation.

• FP-KIT-29. Earth Installation Kit.

Variable grounding resistor.

Nominal voltage: 230 VAC.

Earth collector.

• All necessary cables to realize the practical exercises are included.

Cables and accessories, for normal operation.

Manuals:

This unit is supplied with the following manuals: Required Services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices manuals.

- Dimensions: 1500 x 400 x 1800 mm approx. (59.05 x 15.75 x 70.86 inches approx.) - Weight: 80 Kg approx. (194 pounds approx.)

EXERCISES AND PRACTICAL POSSIBILITIES

1.- Identification of connections and wiring of two-pole differential circuit breaker of type AC.

2.- Identification of connections and wiring of two-pole differential circuit breaker of type A.

3.- Identification of connections and wiring of four-pole differential circuit breaker of type A.

4.- Identification of connections and wiring of two-pole magnetothermal circuit breaker.

5.- Identification of connections and wiring of two-pole magnetothermal circuit breaker.

6.- Identification of connections and wiring of magnetothermal circuit breaker for installations with neutral.

7.- Identification of connections and wiring of magnetothermal circuit breaker for installations without neutral.

8.- Identification of connections and wiring of thermal relay.

9.- Identification of connections and wiring of electronic relay for overloads.

10.- Identification of connections and wiring of transient voltage suppressor.

11.- Installation of the isolation transformer.

12.- Installation of protection fuses.

13.- Checking the selective degree of the electrical protections.

14.- Checking the trip current/time of magnetothermal circuit breaker according to tripping curve C.

15.- Checking the trip current/time of magnetothermal circuit breaker according to tripping curve B.

16.- Setting the tripping current of the thermal relay.

17.- Setting the tripping current of the electronic relay for overloads.

18.- Wiring of the single-phase transformer.

19.- Wiring of the three-phase transformer (optional).

20.- Simulation of earth fault and protection selectivity (optional).

21.- Injection of differential current for the differential circuit breakers operation (optional).

22.- Injection of current for the magnetothermal circuit breakers operation (optional).

23.- Earth fault simulation with multifunction unit.

- Several other exercises can be done and designed by the user.

Optional

WIT-IEP/ICAI. Interactive Computer Aided Instruction Software:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.