TENDER SPECIFICATIONS

KNX Room Controller with Touch Screen:

Type: room controller with touch screen for KNX systems.

Screen size: 5 inches.

Functions: Intuitive control of KNX devices, scenarios, and data visualization.

Connection: Standard KNX connection interface.

Electrical Distribution Box for the Installation of KNX Protections and Devices:

Type: Electrical distribution box for KNX installations.

Material: ABS fire resistant.

Dimensions: 40 cm x 30 cm x 15 cm.

Compartments: Two compartments for protections and KNX devices.

Mounting: Wall mounting with reinforced brackets.

KNX Binary Input Module.

Type: Binary input module for KNX systems.

Number of channels: 8.

Functions: Event detection and input signals.

Connection: Standard KNX connection interface.

Push Button Module.

Type: Push button module for KNX systems.

Number of push buttons: 6.

Functions: Manual control of KNX devices and scenarios.

Connection: Standard KNX connection interface.

KNX Binary Output Module for Blind Control.

Type: Binary output module for shutter control in KNX systems.

Number of channels: 4.

Functions: Up and down control of blinds.

Connection: Standard KNX connection interface.

KNX Brightness Sensor.

Type: Brightness sensor for KNX systems.

Measuring range: 0 – 1000 lux.

Functions: Detection of ambient light levels.

Connection: Standard KNX connection interface.

Shutter-Motor System.

Type: Integrated shutter control system.

Components: Shutter motor and KNX control system.

Functions: Automation of the opening and closing of blinds.

Connection: Integration with KNX modules.

* Note: Specifications are approximate and may vary depending on the specific model and manufacturer.

Required elements (at least one) (Not included):

• WIT-KNX-UB. WIT-KNX Base Unit.

• FP-STR. Assembly Frame with Safe Electrical Power Supply.

Aluminum frame:

Three aluminum struts.

Easy assembly of components via hammer head screws.

Possibility of simultaneous work of several students.

Four swiveling casters to facilitate the movement.

Dimensions:

Frame height: 1800 mm.

Useful working height: 1000 mm.

Width: 1500 mm.

Three-phase connection plug.

Safe electric box:

Differential magnetothermal 4 poles, 25 A, 30 mA AC 6 kA.

Emergency stop push-button (230/400 VAC).

5-wire hose for connection to frame.

Signal lamp of voltage presence.

• USB/TP Programming Interface.

Type: USB/TP programming interface for KNX devices.

Connection: USB port for connection to programming devices.

Compatibility: Compatible with KNX programming software.

Functions: Allows programming and configuration of KNX devices through a user friendly interface.

• KNX Power Supply.

Power supply for KNX devices, 320 mA.

Protections: Includes protections against overload, short circuit and over temperature.

• CHER. Tool box.

Crimper.

Tin.

Meter.

Insulating tape.

Heat shrink.

Pin punch.

Phillips and flat screwdriver.

Allen wrenches.

Soldering iron and soldering iron support.

Rubber hammer.

Connection terminals.

Cable ties.

Cable cutters.

Clemas.

Wire strippers.

• TP BUS Communication Cable.

Communication cable for the TP KNX bus.

Length: 100 m.

Connectors: Standard KNX connectors at both ends.

Application: Suitable for reliable connection of KNX devices in the TP bus network.

• Tubes and Fittings for Cable Trunking.

Tubes and accessories for KNX wiring ducts.

Accessories: Including joints and brackets for versatile installation.

They allow safe cable trunking in KNX installations.

• Residual Current Circuit Breakers and Circuit Breakers.

Circuit breakers, 2P (4 units).

Rated current: 16A.

Overload and short-circuit protection.

Residual current circuit breaker with overcurrent protection, 2P (2 units).

Rated current: 16A.

Sensitivity: 30 mA.

Protection against overloads and short circuits.

• Digital Multimeter.

This module has a digital multimeter of about 3 ½ digits, with double-jack ending cables of about 4 mm to facilitate interconnections.

With this digital multimeter we will be able to measure:

Voltage.

Current.

Resistance.

Capacitors capacity.

Temperature.

• Clamp Ammeter.

* Note: Specifications are approximate and may vary according to specific model and manufacturer.

• All necessary cables to realize the practical exercises are included.

Cables and accessories, for normal operation.

Manuals:

This unit is supplied with the following manuals: Required services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices manuals.

WIT-KNX-BC: - Dimensions: 640 x 320 x 670 mm approx. (25.19 x 12.59 x 26.37 inches approx.) - Weight: 60 Kg approx. (132 pounds approx.)

EXERCISES AND PRACTICAL POSSIBILITIES

1.- Basic Integration of the Blinds Control System:

- Connection of the electrical distribution box for KNX devices in the blind control system.

- Application of wiring techniques to ensure a safe installation.

2.- Connection of the KNX Room Controller:

- Integration of the KNX room controller for centralized blind control.

- Configuration of functions and programming of scenarios.

3.- Connection of the KNX Binary Input Module:

- Connection and integration of the KNX binary input module to detect the status of the blinds.

- Programming of actions according to the detected status.

4.- Connection of KNX Binary Output Module for Blinds Control:

- Connection and configuration of the KNX binary output module for the effective control of the blinds.

- Adjustment of response times and configuration of positions.

5.- Use of KNX brightness sensors:

- Connection and integration of KNX brightness sensors for automatic adjustment of blinds according to lighting.

- Programming of thresholds and conditions.

6.- Connection of Push Button Module for Manual Interaction:

- Integration of KNX pushbutton modules to allow manual interaction with the blinds.

- Programming of up, down and stop functions.

7.- Shutter Motor: Connection and Integration:

- Connection and programming of the shutter motor.

- Evaluation of system performance under various conditions.

ETS Project Creation and Topology Definition:

8.- Creation of a New Project in ETS:

- Development of a new project from scratch with ETS software.

- Definition of general characteristics and establishment of the basic topology of the KNX system.

9.- Definition of the Bus Topology:

- Configuration of the KNX bus topology.

- Identification of devices and establishment of physical addresses.

- Application of good design practices.

10.- Physical Address Assignment:

- Assignment of physical addresses to KNX devices in the project.

- Follow-up of addressing standards and recommendations.

11.- Topology Verification:

- Verification of configuration consistency.

- Compliance with KNX system requirements.

KNX Device Diagnostics:

12.- Use of Diagnostic Tools:

- Use of diagnostic tools in the ETS software to verify communication and status of KNX devices.

13.- Communication Testing:

- Performing communication tests between KNX devices and the bus.

- Identification and resolution of possible connection problems.

14.- Telegram Analysis:

- Analysis of telegrams sent and received by KNX devices.

- Identification of possible errors or interferences in the network.

15.- Error Diagnostics:

- Diagnosis and troubleshooting of configuration or connection errors in KNX devices.

- Use of diagnostic tools available in the ETS software.

16.- Event Logging:

- Use of event logging functions to monitor and analyze the behavior of KNX devices under different operating conditions.

- Several other exercises can be done and designed by the user.

Optional

WIT-KNX-BC/ICAI. Interactive Computer Aided Instruction Software:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.