TENDER SPECIFICATIONS

Electrical Distribution Box for the Installation of KNX Protections and Devices.

Type: KNX electrical distribution box.

Functions: Safe and organized housing of KNX protections and devices.

Material: Resistant and durable material.

Dimensions: Suitable for the number and type of KNX devices to be installed.

KNX Space Link Web Server.

Type: KNX web server.

Functions: Facilitates the connection and remote control of the KNX system through a web interface.

Connectivity: Compatible with standard KNX networks.

Security: Implements security measures for remote management.

* Note: Specifications are approximate and may vary depending on the specific model and manufacturer.

Required elements (at least one) (Not included):

• WIT-KNX-UB. WIT-KNX Base Unit.

• FP-STR. Assembly Frame with Safe Electrical Power Supply.

Aluminum frame:

Three aluminum struts.

Easy assembly of components via hammer head screws.

Possibility of simultaneous work of several students.

Four swiveling casters to facilitate the movement.

Dimensions:

Frame height: 1800 mm.

Useful working height: 1000 mm.

Width: 1500 mm.

Three-phase connection plug.

Safe electric box:

Differential magnetothermal 4 poles, 25 A, 30 mA AC 6 kA.

Emergency stop push-button (230/400 VAC).

5-wire hose for connection to frame.

Signal lamp of voltage presence.

• USB/TP Programming Interface.

Type: USB/TP programming interface for KNX devices.

Connection: USB port for connection to programming devices.

Compatibility: Compatible with KNX programming software.

Functions: Allows programming and configuration of KNX devices through a user friendly interface.

• KNX Power Supply.

Power supply for KNX devices, 320 mA.

Protections: Includes protections against overload, short circuit and over temperature.

• CHER. Tool box.

Crimper.

Tin.

Meter.

Insulating tape.

Heat shrink.

Pin punch.

Phillips and flat screwdriver.

Allen wrenches.

Soldering iron and soldering iron support.

Rubber hammer.

Connection terminals.

Cable ties.

Cable cutters.

Clemas.

Wire strippers.

• TP BUS Communication Cable.

Communication cable for the TP KNX bus.

Length: 100 m.

Connectors: Standard KNX connectors at both ends.

Application: Suitable for reliable connection of KNX devices in the TP bus network.

• Tubes and Fittings for Cable Trunking.

Tubes and accessories for KNX wiring ducts.

Accessories: Including joints and brackets for versatile installation.

They allow safe cable trunking in KNX installations.

• Residual Current Circuit Breakers and Circuit Breakers.

Circuit breakers, 2P (4 units).

Rated current: 16A.

Overload and short-circuit protection.

Residual current circuit breaker with overcurrent protection, 2P (2 units).

Rated current: 16A.

Sensitivity: 30 mA.

Protection against overloads and short circuits.

• Digital Multimeter.

This module has a digital multimeter of about 3 ½ digits, with double-jack ending cables of about 4 mm to facilitate interconnections.

With this digital multimeter we will be able to measure:

Voltage.

Current.

Resistance.

Capacitors capacity.

Temperature.

• Clamp Ammeter.

* Note: Specifications are approximate and may vary according to specific model and manufacturer.

• All necessary cables to realize the practical exercises are included.

Cables and accessories, for normal operation.

Manuals:

This unit is supplied with the following manuals: Required services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices manuals.

WIT-KNX-BMS: - Dimensions: 640 x 320 x 670 mm approx. (25.19 x 12.59 x 26.37 inches approx.) - Weight: 60 Kg approx. (132 pounds approx.)

EXERCISES AND PRACTICAL POSSIBILITIES

1.- Basic Integration of the BMS System with KNX:

- Connection of the electrical distribution box for KNX and BMS devices.

- Application of wiring techniques to ensure efficient integration of both systems.

2.- Creation of a new BMS project in ETS:

- Development of a new BMS project from scratch in ETS software.

- Definition of general features and establishment of the basic topology of the KNX building management system.

3.- Definition of the BMS Bus Topology:

- Configuration of the KNX bus topology in the context of the BMS system.

- Identification of devices and assignment of physical addresses.

4.- Physical Address Assignment in the BMS Project:

- Assignment of physical addresses to KNX devices within the BMS project.

- Compliance with standards and recommendations for effective addressing.

5.- Integration of Environmental Sensors in the BMS System:

- Connection and integration of temperature, humidity and other environmental sensors.

- Programming of automatic responses in the KNX system to manage the building environment.

6.- Advanced Lighting Control with BMS:

- Configuration of a BMS controller for advanced management of the KNX lighting system.

- Scenario programming and adjustment of lighting parameters.

7.- Integration of HVAC systems with KNX:

- Connection and integration of HVAC systems into the KNX system via the BMS.

- Adjustment of temperature parameters and programming of schedules.

8.- Efficient Blinds Management:

- Configuration of KNX actuators for efficient blind management in collaboration with the BMS system.

- Programming of schedules and automatic responses.

9.- Energy Consumption Monitoring:

- Connection of energy meters and configuration of energy consumption monitoring in the BMS system.

- Programming of alarms and data visualization.

10.- Security Systems Integration:

- Connection and integration of security systems (alarms) with the KNX system through the BMS.

- Configuration of automatic responses in case of security events.

11.- Common Space Management:

- Configuration of BMS controllers for the management of common spaces such as meeting rooms, corridors, etc.

- Programming of specific scenarios and functions.

12.- Use of BMS Diagnostic Tools in ETS:

- Exploration of diagnostic tools in ETS software to monitor and diagnose the KNX network in the context of the BMS.

- Event analysis and diagnostic logging.

13.- Simulation of Complex Scenarios in Building Management:

- Creation and simulation of complex scenarios involving different systems managed by the BMS and KNX.

- Evaluation of system behavior under various conditions.

- Several other exercises can be done and designed by the user.

Optional

WIT-KNX-BMS/ICAI. Interactive Computer Aided Instruction Software:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.