TENDER SPECIFICATIONS

Electrical Distribution Box for the Installation of Protections and KNX Devices.

Type: Electrical distribution box for KNX installations.

Material: Galvanized steel.

Dimensions: 40 cm x 30 cm x 15 cm.

Compartments: Two compartments for protections and KNX devices.

Mounting: Wall mounting with reinforced brackets.

KNX Presence Sensor.

Presence sensor for KNX systems.

Technology: Infrared.

Detection Angle: 180 degrees.

Power supply: 24 V DC.

Connection: Standard KNX connection interface.

KNX Luminosity Sensor.

Brightness sensor for KNX systems.

Measuring Range: 1 lux to 1000 lux.

Power supply: 24 VDC.

Connection: Standard KNX connection interface.

Automatic Adjustment: Yes.

LED luminaires.

Type: LED luminaires for KNX systems.

Power: 10 W.

Color Temperature: 3000 K.

Control: Dimming and dimming by KNX controllers.

KNX Binary Output Module.

Type: Binary output module for KNX systems.

Number of Channels: 4.

Maximum load per channel: 16 A.

Connection: Standard KNX connection interface.

KNX Binary Input Module.

Type: Binary input module for KNX systems.

Number of Channels: 8.

Input Type: 230 VAC.

Connection: Standard KNX connection interface.

KNX Push Button.

Push button for KNX systems.

Number of buttons: 2.

Functions: Configurable for on, off and scenes.

Connection: Standard KNX connection interface.

KNX/DALI Gateway Controller.

Gateway controller for integration between KNX and DALI systems.

Functions: Unified control of DALI luminaires from the KNX system.

Connection: Standard KNX and DALI connection interface.

DALI Light Controller.

Type: Light controller for DALI systems.

Functions: Advanced control of DALI luminaires.

Connection: Standard DALI connection interface.

Room Controller KNX with Touch Screen.

Room controller with touch screen for KNX systems.

Display size: 5 inches.

Functions: Intuitive control of KNX devices, scenarios and room temperature.

Connection: Standard KNX connection interface.

* Note: Specifications are approximate and may vary depending on the specific model and manufacturer.

Required elements (at least one) (Not included):

• WIT-KNX-UB. WIT-KNX Base Unit.

• FP-STR. Assembly Frame with Safe Electrical Power Supply.

Aluminum frame:

Three aluminum struts.

Easy assembly of components via hammer head screws.

Possibility of simultaneous work of several students.

Four swiveling casters to facilitate the movement.

Dimensions:

Frame height: 1800 mm.

Useful working height: 1000 mm.

Width: 1500 mm.

Three-phase connection plug.

Safe electric box:

Differential magnetothermal 4 poles, 25 A, 30 mA AC 6 kA.

Emergency stop push-button (230/400 VAC).

5-wire hose for connection to frame.

Signal lamp of voltage presence.

• USB/TP Programming Interface.

Type: USB/TP programming interface for KNX devices.

Connection: USB port for connection to programming devices.

Compatibility: Compatible with KNX programming software.

Functions: Allows programming and configuration of KNX devices through a user friendly interface.

• KNX Power Supply.

Power supply for KNX devices, 320 mA.

Protections: Includes protections against overload, short circuit and over temperature.

• CHER. Tool box.

Crimper.

Tin.

Meter.

Insulating tape.

Heat shrink.

Pin punch.

Phillips and flat screwdriver.

Allen wrenches.

Soldering iron and soldering iron support.

Rubber hammer.

Connection terminals.

Cable ties.

Cable cutters.

Clemas.

Wire strippers.

• TP BUS Communication Cable.

Communication cable for the TP KNX bus.

Length: 100 m.

Connectors: Standard KNX connectors at both ends.

Application: Suitable for reliable connection of KNX devices in the TP bus network.

• Tubes and Fittings for Cable Trunking.

Tubes and accessories for KNX wiring ducts.

Accessories: Including joints and brackets for versatile installation.

They allow safe cable trunking in KNX installations.

• Residual Current Circuit Breakers and Circuit Breakers.

Circuit breakers, 2P (4 units).

Rated current: 16A.

Overload and short-circuit protection.

Residual current circuit breaker with overcurrent protection, 2P (2 units).

Rated current: 16A.

Sensitivity: 30 mA.

Protection against overloads and short circuits.

• Digital Multimeter.

This module has a digital multimeter of about 3 ½ digits, with double-jack ending cables of about 4 mm to facilitate interconnections.

With this digital multimeter we will be able to measure:

Voltage.

Current.

Resistance.

Capacitors capacity.

Temperature.

• Clamp Ammeter.

* Note: Specifications are approximate and may vary according to specific model and manufacturer.

• All necessary cables to realize the practical exercises are included.

Cables and accessories, for normal operation.

Manuals:

This unit is supplied with the following manuals: Required services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices manuals.

WIT-KNX-LIC: - Dimensions: 640 x 320 x 670 mm approx. (25.19 x 12.59 x 26.37 inches approx.) - Weight: 60 Kg approx. (132 pounds approx.)

EXERCISES AND PRACTICAL POSSIBILITIES

1.- Installation of the Electrical Distribution Box:

- Installation procedure of protections and KNX devices.

- Application of appropriate wiring techniques.

2.- Realization of Luminaire Control:

- Integration of LED luminaires in the installation.

- Programming of the control using the KNX binary output module.

- Application of wiring techniques for safe connection.

3.- Connection of the brightness sensor:

- Connection of the KNX brightness sensor.

- Configuration for automatic lighting adjustment according to ambient light conditions.

- Implementation of efficient wiring techniques.

4.- Manual Interaction with KNX Push Button:

- Connection and integration of a KNX push button.

- Programming for manual switching on and off of lights in the room.

5.- Installation of the KNX Room Controller with Touch Screen:

- Configuration of the KNX room controller with touch screen.

- Exploration of functions and programming capabilities.

- Application of structured wiring techniques.

6.- KNX/DALI Connection and Integration:

- Connection of a DALI light controller.

- Integration into the KNX system for unified control of DALI luminaires.

- Application of advanced wiring techniques.

Project creation in ETS and Topology definition:

7.- Creation of a new project in ETS:

- Development of a new project from scratch with ETS software.

- Definition of general characteristics and establishment of the basic topology of the KNX system.

8.- Definition of the Bus Topology:

- Configuration of the KNX bus topology.

- Identification of devices and establishment of physical addresses.

- Application of good design practices.

9.- Physical Address Assignment:

- Assignment of physical addresses to KNX devices in the project.

- Follow-up of addressing standards and recommendations.

10.- Topology Verification:

- Verification of configuration consistency.

- Compliance with KNX system requirements.

KNX Device Diagnostics:

11.- Use of Diagnostic Tools:

- Use of diagnostic tools in the ETS software to verify communication and status of KNX devices.

12.- Communication Testing:

- Performing communication tests between KNX devices and the bus.

- Identification and resolution of possible connection problems.

13.- Telegram Analysis:

- Analysis of telegrams sent and received by KNX devices.

- Identification of possible errors or interferences in the network.

14.- Error Diagnostics:

- Diagnosis and troubleshooting of configuration or connection errors in KNX devices.

- Use of diagnostic tools available in the ETS software.

15.- Event Logging:

- Use of event logging functions to monitor and analyze the behavior of KNX devices under different operating conditions.

- Several other exercises can be done and designed by the user.

Optional

WIT-KNX-LIC/ICAI. Interactive Computer Aided Instruction Software:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.