TENDER SPECIFICATIONS

Electrical Distribution Box for the Installation of Protections and KNX Devices.

Type: Electrical distribution box for KNX installations.

Material: Resistant steel.

Dimensions: 50 cm x 40 cm x 20 cm.

Compartments: Three compartments for protections and KNX devices.

Mounting: Wall mounting with reinforced brackets.

Intrusion Detector and KNX Security Zones.

Type: KNX intrusion detector.

Security zones: Four configurable zones.

Functions: Motion detection and activation of security zones.

Connection: Standard KNX connection interface.

Buzzer Box for Alarm Simulation (3 Units).

Type: Buzzer box for alarm simulation.

Number of Buzzers: 3.

Functions: Emission of simulated alarm sounds.

Connection: Power supply and activation through KNX binary output.

KNX Binary Output (for Alarm Activation).

Type: KNX binary output module.

Number of channels: 1.

Functions: Alarm activation and deactivation.

Connection: Standard KNX connection interface.

Circuit Breakers (4 Units).

Type: Circuit breakers.

Number of switches: 4.

Functions: Control of specific circuits: Control of specific circuits.

Connection: Installation in KNX electrical distribution box.

Induction Motor.

Functions: Electrical load simulation and control via KNX output module.

Connection: Power supply and KNX control.

KNX Presence Detector.

Type: KNX presence detector.

Functions: Motion detection in the designated area.

Power supply: Through KNX network.

Mounting: Wall or ceiling as required.

KNX Magnetic Window Detector.

Type: KNX magnetic window detector.

Functions: Detection of opening and closing of windows.

Power supply: Through the KNX network.

Mounting: Window frame.

KNX Smoke/Fire Detector.

Type: KNX smoke/fire detector.

Functions: Smoke detection and indication of possible fires.

Power supply: Through KNX network.

Mounting: Ceiling or wall according to safety recommendations.

KNX Temperature and Presence Detector.

Type: KNX temperature and presence detector.

Functions: Simultaneous temperature and presence detection.

Power supply: Through KNX network.

Mounting: Wall or ceiling as required.

Flood Detector KNX.

KNX flood detector.

Functions: Detection of anomalous water levels.

Power supply: Through the KNX network.

Mounting: On the floor or in areas prone to flooding.

* Note: Specifications are approximate and may vary depending on the specific model and manufacturer.

Required elements (at least one) (Not included):

• WIT-KNX-UB. WIT-KNX Base Unit.

• FP-STR. Assembly Frame with Safe Electrical Power Supply.

Aluminum frame:

Three aluminum struts.

Easy assembly of components via hammer head screws.

Possibility of simultaneous work of several students.

Four swiveling casters to facilitate the movement.

Dimensions:

Frame height: 1800 mm.

Useful working height: 1000 mm.

Width: 1500 mm.

Three-phase connection plug.

Safe electric box:

Differential magnetothermal 4 poles, 25 A, 30 mA AC 6 kA.

Emergency stop push-button (230/400 VAC).

5-wire hose for connection to frame.

Signal lamp of voltage presence.

• USB/TP Programming Interface.

Type: USB/TP programming interface for KNX devices.

Connection: USB port for connection to programming devices.

Compatibility: Compatible with KNX programming software.

Functions: Allows programming and configuration of KNX devices through a user friendly interface.

• KNX Power Supply.

Power supply for KNX devices, 320 mA.

Protections: Includes protections against overload, short circuit and over temperature.

• CHER. Tool box.

Crimper.

Tin.

Meter.

Insulating tape.

Heat shrink.

Pin punch.

Phillips and flat screwdriver.

Allen wrenches.

Soldering iron and soldering iron support.

Rubber hammer.

Connection terminals.

Cable ties.

Cable cutters.

Clemas.

Wire strippers.

• TP BUS Communication Cable.

Communication cable for the TP KNX bus.

Length: 100 m.

Connectors: Standard KNX connectors at both ends.

Application: Suitable for reliable connection of KNX devices in the TP bus network.

• Tubes and Fittings for Cable Trunking.

Tubes and accessories for KNX wiring ducts.

Accessories: Including joints and brackets for versatile installation.

They allow safe cable trunking in KNX installations.

• Residual Current Circuit Breakers and Circuit Breakers.

Circuit breakers, 2P (4 units).

Rated current: 16A.

Overload and short-circuit protection.

Residual current circuit breaker with overcurrent protection, 2P (2 units).

Rated current: 16A.

Sensitivity: 30 mA.

Protection against overloads and short circuits.

• Digital Multimeter.

This module has a digital multimeter of about 3 ½ digits, with double-jack ending cables of about 4 mm to facilitate interconnections.

With this digital multimeter we will be able to measure:

Voltage.

Current.

Resistance.

Capacitors capacity.

Temperature.

• Clamp Ammeter.

* Note: Specifications are approximate and may vary according to specific model and manufacturer.

• All necessary cables to realize the practical exercises are included.

Cables and accessories, for normal operation.

Manuals:

This unit is supplied with the following manuals: Required services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices manuals.

WIT-KNX-SFC: - Dimensions: 640 x 320 x 670 mm approx. (25.19 x 12.59 x 26.37 inches approx.) - Weight: 60 Kg approx. (132 pounds approx.)

EXERCISES AND PRACTICAL POSSIBILITIES

1.- Basic Integration of the KNX Security System:

- Connection of the electrical distribution box for KNX devices in the security system.

- Application of wiring techniques to ensure a safe installation.

2.- Connection of the KNX Room Controller:

- Integration of the KNX room controller for centralized control of security functions.

- Configuration of functions and programming of security scenarios.

3.- Connection of the KNX Binary Input Module:

- Connection and integration of the KNX binary input module for detecting security events.

- Programming of actions based on detected states.

4.- Connection of KNX Binary Output Module for Control of Safety Devices:

- Connection and configuration of KNX binary output module for effective control of safety devices.

- Adjustment of response times and activation settings.

5.- Use of KNX brightness sensors in safety:

- Connection and integration of KNX brightness sensors to automatically adjust lighting in safety situations.

- Programming of thresholds and specific conditions.

6.- Simulation of scenarios with Buzzer Box:

- Use of the buzzer box to simulate alarm situations and evaluate the response of the security system.

- Adjustment of responses according to different events.

7.- Connection and Integration of Intrusion Detectors and Security Zones:

- Connection and programming of KNX intrusion detectors and security zones.

- Configuration of actions in case of intrusion detection.

8.- Connection of Sirens and Alarms:

- Integration and configuration of sirens and alarms for emergency situations.

- Adjustment of sound levels and activation.

9.- Connection of KNX Smoke and Fire Detectors:

- Integration and programming of smoke and fire detectors in the KNX system.

- Configuration of automatic responses and notifications.

10.- Connection of KNX Temperature and Presence Detectors:

- Integration and configuration of temperature and presence detectors for the security of the environment.

- Programming of actions in case of specific events.

11.- Connection of KNX Flood Detectors:

- Integration and programming of flood detectors for security against water damage.

- Configuration of automatic responses.

Creation of projects in ETS and definition of topology:

12.- Creation of a new project in ETS:

- Development of a new project from scratch with ETS software.

- Definition of general characteristics and establishment of the basic topology of the KNX system.

13.- Definition of the Bus Topology:

- Configuration of the KNX bus topology.

- Identification of devices and establishment of physical addresses.

-  Application of good design practices.

14.- Physical Address Assignment:

- Assignment of physical addresses to KNX devices in the project.

- Follow-up of addressing standards and recommendations.

15.- Topology Verification:

- Verification of configuration consistency.

- Compliance with KNX system requirements.

KNX Device Diagnostics:

16.- Use of Diagnostic Tools:

- Use of diagnostic tools in the ETS software to verify communication and status of KNX devices.

17.- Communication Testing:

- Performing communication tests between KNX devices and the bus.

- Identification and resolution of possible connection problems.

18.- Telegram Analysis:

- Analysis of telegrams sent and received by KNX devices.

- Identification of possible errors or interferences in the network.

19.- Error Diagnostics:

- Diagnosis and troubleshooting of configuration or connection errors in KNX devices.

- Use of diagnostic tools available in the ETS software.

20.- Event Logging:

- Use of event logging functions to monitor and analyze the behavior of KNX devices under different operating conditions.

- Several other exercises can be done and designed by the user.

Optional

WIT-KNX-SFC/ICAI. Interactive Computer Aided Instruction Software:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.