TENDER SPECIFICATIONS

The “WIT-KNX” unit includes the following elements:

The “WIT-KNX-UB” base unit includes the following elements:

• FP-STR. Assembly Frame with Safe Electrical Power Supply.

Aluminum frame:

Three aluminum struts.

Easy assembly of components via hammer head screws.

Possibility of simultaneous work of several students.

Four swiveling casters to facilitate the movement.

Dimensions:

Frame height: 1800 mm.

Useful working height: 1000 mm.

Width: 1500 mm.

Three-phase connection plug.

Safe electric box:

Differential magnetothermal 4 poles, 25 A, 30 mA AC 6 kA.

Emergency stop push-button (230/400 VAC).

5-wire hose for connection to frame.

Signal lamp of voltage presence.

• USB/TP Programming Interface.

Type: USB/TP programming interface for KNX devices.

Connection: USB port for connection to programming devices.

Compatibility: Compatible with KNX programming software.

Functions: Allows programming and configuration of KNX devices through a user friendly interface.

• KNX Power Supply.

Power supply for KNX devices, 320 mA.

Protections: Includes protections against overload, short circuit and over temperature.

• CHER. Tool box.

Crimper.

Tin.

Meter.

Insulating tape.

Heat shrink.

Pin punch.

Phillips and flat screwdriver.

Allen wrenches.

Soldering iron and soldering iron support.

Rubber hammer.

Connection terminals.

Cable ties.

Cable cutters.

Clemas.

Wire strippers.

• TP BUS Communication Cable.

Communication cable for the TP KNX bus.

Length: 100 m.

Connectors: Standard KNX connectors at both ends.

Application: Suitable for reliable connection of KNX devices in the TP bus network.

• Tubes and Fittings for Cable Trunking.

Tubes and accessories for KNX wiring ducts.

Accessories: Including joints and brackets for versatile installation.

They allow safe cable trunking in KNX installations.

• Residual Current Circuit Breakers and Circuit Breakers.

Circuit breakers, 2P (4 units).

Rated current: 16A.

Overload and short-circuit protection.

Residual current circuit breaker with overcurrent protection, 2P (2 units).

Rated current: 16A.

Sensitivity: 30 mA.

Protection against overloads and short circuits.

• Digital Multimeter.

This module has a digital multimeter of about 3 ½ digits, with double-jack ending cables of about 4 mm to facilitate interconnections.

With this digital multimeter we will be able to measure:

Voltage.

Current.

Resistance.

Capacitors capacity.

Temperature.

• Clamp Ammeter.

* Note: Specifications are approximate and may vary according to specific model and manufacturer.

Required elements (at least one) (Not included):

• WIT-KNX-LIC. Wiring Installation Training for Lighting with KNX.

Electrical Distribution Box for the Installation of Protections and KNX Devices.

Type: Electrical distribution box for KNX installations.

Material: Galvanized steel.

Dimensions: 40 cm x 30 cm x 15 cm.

Compartments: Two compartments for protections and KNX devices.

Mounting: Wall mounting with reinforced brackets.

KNX Presence Sensor.

Presence sensor for KNX systems.

Technology: Infrared.

Detection Angle: 180 degrees.

Power supply: 24 V DC.

Connection: Standard KNX connection interface.

KNX Luminosity Sensor.

Brightness sensor for KNX systems.

Measuring Range: 1 lux to 1000 lux.

Power supply: 24 VDC.

Connection: Standard KNX connection interface.

Automatic Adjustment: Yes.

LED luminaires.

Type: LED luminaires for KNX systems.

Power: 10 W.

Color Temperature: 3000 K.

Control: Dimming and dimming by KNX controllers.

KNX Binary Output Module.

Type: Binary output module for KNX systems.

Number of Channels: 4.

Maximum load per channel: 16 A.

Connection: Standard KNX connection interface.

KNX Binary Input Module.

Type: Binary input module for KNX systems.

Number of Channels: 8.

Input Type: 230 VAC.

Connection: Standard KNX connection interface.

KNX Push Button.

Push button for KNX systems.

Number of buttons: 2.

Functions: Configurable for on, off and scenes.

Connection: Standard KNX connection interface.

KNX/DALI Gateway Controller.

Gateway controller for integration between KNX and DALI systems.

Functions: Unified control of DALI luminaires from the KNX system.

Connection: Standard KNX and DALI connection interface.

DALI Light Controller.

Type: Light controller for DALI systems.

Functions: Advanced control of DALI luminaires.

Connection: Standard DALI connection interface.

Room Controller KNX with Touch Screen.

Room controller with touch screen for KNX systems.

Display size: 5 inches.

Functions: Intuitive control of KNX devices, scenarios and room temperature.

Connection: Standard KNX connection interface.

* Note: Specifications are approximate and may vary depending on the specific model and manufacturer.

• WIT-KNX-HVAC. Wiring Installation Training for HVAC with KNX.

Electrical Distribution Box for the Installation of Protections and KNX Devices.

Type: Electrical distribution box for KNX installations.

Material: Galvanized steel.

Dimensions: 50 cm x 40 cm x 20 cm.

Compartments: Three compartments for protections and KNX devices.

Mounting: Wall mounting with reinforced brackets.

KNX Room Controller with Touch Screen.

Type: Room controller with touch screen for KNX systems.

Display size: 7 inches.

Functions: Intuitive control of KNX devices, scenarios, room temperature and data visualization.

Connection: Standard KNX connection interface.

Four and Two Pipe KNX Fan Coil Controller.

Type: KNX Fan Coil Controller.

Piping: Available in four-pipe and two-pipe versions.

Functions: Temperature and fan speed control.

Connection: Standard KNX connection interface.

KNX Temperature and Presence Detector.

Type: Temperature and presence detector for KNX systems.

Temperature Range: -10°C to 50°C.

Detection Angle: 120 degrees.

Connection: Standard KNX connection interface.

KNX Binary Output Module.

Type: Binary output module for KNX systems.

Number of Channels: 6.

Maximum load per channel: 15 A.

Connection: Standard KNX connection interface.

Ambient Temperature Simulator Box.

Type: Simulator box to simulate room temperature conditions.

Controls: Simulated temperature setting.

Indicators: Digital display of simulated temperature.

Connection: Connector for KNX systems.

Analog Voltmeters 0-10V.

Type: Analog voltmeters for monitoring control signals.

Range: 0-10 V.

Connection: 4 mm connector.

Functions: Real-time display of voltages in the KNX system.

Variable Frequency Drive for Fan Speed Control.

Type: Frequency inverter for KNX systems.

Frequency range: 0 – 100 Hz.

Control: Fan speed adjustment.

Connection: Standard KNX connection interface.

Motor with Fan and Heating Resistor with 0  – 10 VDC Controller.

Type: Motor with fan and heating resistor for KNX systems.

Control: 0 – 10 VDC.

Functions: Ventilation and heating control.

Connection: Standard KNX connection interface.

Circuit breakers.

Type: Circuit breakers for additional control.

Functions: Setting of scenarios and on/off conditions.

Connection: Standard KNX connection interface.

* Note: Specifications are approximate and may vary depending on the specific model and manufacturer.

• WIT-KNX-BC. Wiring Installation Training for Blinds with KNX.

KNX Room Controller with Touch Screen:

Type: room controller with touch screen for KNX systems.

Screen size: 5 inches.

Functions: Intuitive control of KNX devices, scenarios, and data visualization.

Connection: Standard KNX connection interface.

Electrical Distribution Box for the Installation of KNX Protections and Devices:

Type: Electrical distribution box for KNX installations.

Material: ABS fire resistant.

Dimensions: 40 cm x 30 cm x 15 cm.

Compartments: Two compartments for protections and KNX devices.

Mounting: Wall mounting with reinforced brackets.

KNX Binary Input Module.

Type: Binary input module for KNX systems.

Number of channels: 8.

Functions: Event detection and input signals.

Connection: Standard KNX connection interface.

Push Button Module.

Type: Push button module for KNX systems.

Number of push buttons: 6.

Functions: Manual control of KNX devices and scenarios.

Connection: Standard KNX connection interface.

KNX Binary Output Module for Blind Control.

Type: Binary output module for shutter control in KNX systems.

Number of channels: 4.

Functions: Up and down control of blinds.

Connection: Standard KNX connection interface.

KNX Brightness Sensor.

Type: Brightness sensor for KNX systems.

Measuring range: 0 – 1000 lux.

Functions: Detection of ambient light levels.

Connection: Standard KNX connection interface.

Shutter-Motor System.

Type: Integrated shutter control system.

Components: Shutter motor and KNX control system.

Functions: Automation of the opening and closing of blinds.

Connection: Integration with KNX modules.

* Note: Specifications are approximate and may vary depending on the specific model and manufacturer.

• WIT-KNX-SFC. Wiring Installation Training for Security with KNX: Fire, Intrusion Prevention, Floods, etc.

Electrical Distribution Box for the Installation of Protections and KNX Devices.

Type: Electrical distribution box for KNX installations.

Material: Resistant steel.

Dimensions: 50 cm x 40 cm x 20 cm.

Compartments: Three compartments for protections and KNX devices.

Mounting: Wall mounting with reinforced brackets.

Intrusion Detector and KNX Security Zones.

Type: KNX intrusion detector.

Security zones: Four configurable zones.

Functions: Motion detection and activation of security zones.

Connection: Standard KNX connection interface.

Buzzer Box for Alarm Simulation (3 Units).

Type: Buzzer box for alarm simulation.

Number of Buzzers: 3.

Functions: Emission of simulated alarm sounds.

Connection: Power supply and activation through KNX binary output.

KNX Binary Output (for Alarm Activation).

Type: KNX binary output module.

Number of channels: 1.

Functions: Alarm activation and deactivation.

Connection: Standard KNX connection interface.

Circuit Breakers (4 Units).

Type: Circuit breakers.

Number of switches: 4.

Functions: Control of specific circuits: Control of specific circuits.

Connection: Installation in KNX electrical distribution box.

Induction Motor.

Functions: Electrical load simulation and control via KNX output module.

Connection: Power supply and KNX control.

KNX Presence Detector.

Type: KNX presence detector.

Functions: Motion detection in the designated area.

Power supply: Through KNX network.

Mounting: Wall or ceiling as required.

KNX Magnetic Window Detector.

Type: KNX magnetic window detector.

Functions: Detection of opening and closing of windows.

Power supply: Through the KNX network.

Mounting: Window frame.

KNX Smoke/Fire Detector.

Type: KNX smoke/fire detector.

Functions: Smoke detection and indication of possible fires.

Power supply: Through KNX network.

Mounting: Ceiling or wall according to safety recommendations.

KNX Temperature and Presence Detector.

Type: KNX temperature and presence detector.

Functions: Simultaneous temperature and presence detection.

Power supply: Through KNX network.

Mounting: Wall or ceiling as required.

Flood Detector KNX.

KNX flood detector.

Functions: Detection of anomalous water levels.

Power supply: Through the KNX network.

Mounting: On the floor or in areas prone to flooding.

* Note: Specifications are approximate and may vary depending on the specific model and manufacturer.

• WIT-KNX-BMS: Wiring Installation Training for Building Control via BMS.

Electrical Distribution Box for the Installation of KNX Protections and Devices.

Type: KNX electrical distribution box.

Functions: Safe and organized housing of KNX protections and devices.

Material: Resistant and durable material.

Dimensions: Suitable for the number and type of KNX devices to be installed.

KNX Space Link Web Server.

Type: KNX web server.

Functions: Facilitates the connection and remote control of the KNX system through a web interface.

Connectivity: Compatible with standard KNX networks.

Security: Implements security measures for remote management.

* Note: Specifications are approximate and may vary depending on the specific model and manufacturer.

• All necessary cables to realize the practical exercises are included.

Cables and accessories, for normal operation.

Manuals:

This unit is supplied with the following manuals: Required services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices manuals.

WIT-KNX-LIC: - Dimensions: 640 x 320 x 670 mm approx. (25.19 x 12.59 x 26.37 inches approx.) - Weight: 60 Kg approx. (132 pounds approx.)

WIT-KNX-HVAC: - Dimensions: 640 x 320 x 670 mm approx. (25.19 x 12.59 x 26.37 inches approx.) - Weight: 60 Kg approx. (132 pounds approx.)

WIT-KNX-BC: - Dimensions: 640 x 320 x 670 mm approx. (25.19 x 12.59 x 26.37 inches approx.) - Weight: 60 Kg approx. (132 pounds approx.)

WIT-KNX-SFC: - Dimensions: 640 x 320 x 670 mm approx. (25.19 x 12.59 x 26.37 inches approx.) - Weight: 60 Kg approx. (132 pounds approx.)

WIT-KNX-BMS: - Dimensions: 640 x 320 x 670 mm approx. (25.19 x 12.59 x 26.37 inches approx.) - Weight: 60 Kg approx. (132 pounds approx.)

EXERCISES AND PRACTICAL POSSIBILITIES

Some practical possibilities with Wiring Installation Training for Lighting with KNX, “WIT-KNX-LIC”

1.- Installation of the Electrical Distribution Box:

- Installation procedure of protections and KNX devices.

- Application of appropriate wiring techniques.

2.- Realization of Luminaire Control:

- Integration of LED luminaires in the installation.

- Programming of the control using the KNX binary output module.

- Application of wiring techniques for safe connection.

3.- Connection of the brightness sensor:

- Connection of the KNX brightness sensor.

- Configuration for automatic lighting adjustment according to ambient light conditions.

- Implementation of efficient wiring techniques.

4.- Manual Interaction with KNX Push Button:

- Connection and integration of a KNX push button.

- Programming for manual switching on and off of lights in the room.

5.- Installation of the KNX Room Controller with Touch Screen:

- Configuration of the KNX room controller with touch screen.

- Exploration of functions and programming capabilities.

- Application of structured wiring techniques.

6.- KNX/DALI Connection and Integration:

- Connection of a DALI light controller.

- Integration into the KNX system for unified control of DALI luminaires.

- Application of advanced wiring techniques.

Project creation in ETS and Topology definition:

7.- Creation of a new project in ETS:

- Development of a new project from scratch with ETS software.

- Definition of general characteristics and establishment of the basic topology of the KNX system.

8.- Definition of the Bus Topology:

- Configuration of the KNX bus topology.

- Identification of devices and establishment of physical addresses.

- Application of good design practices.

9.- Physical Address Assignment:

- Assignment of physical addresses to KNX devices in the project.

- Follow-up of addressing standards and recommendations.

10.- Topology Verification:

- Verification of configuration consistency.

- Compliance with KNX system requirements.

KNX Device Diagnostics:

11.- Use of Diagnostic Tools:

- Use of diagnostic tools in the ETS software to verify communication and status of KNX devices.

12.- Communication Testing:

- Performing communication tests between KNX devices and the bus.

- Identification and resolution of possible connection problems.

13.- Telegram Analysis:

- Analysis of telegrams sent and received by KNX devices.

- Identification of possible errors or interferences in the network.

14.- Error Diagnostics:

- Diagnosis and troubleshooting of configuration or connection errors in KNX devices.

- Use of diagnostic tools available in the ETS software.

15.- Event Logging:

- Use of event logging functions to monitor and analyze the behavior of KNX devices under different operating conditions.

Some practical possibilities with Wiring Installation Training for HVAC with KNX, “WIT-KNX-HVAC”:

16.- Basic integration of the HVAC system:

- Connection and configuration of the electrical distribution box for KNX devices in the HVAC system.

- Application of wiring techniques to ensure a safe installation.

17.- Connection of the KNX Room Controller:

- Integration of the KNX room controller for centralized climate control.

- Configuration of functions and temperature parameters.

18.- Connection of the Temperature and Presence Sensor:

- Connection and integration of the KNX temperature and presence sensor.

- Programming for automatic adjustment of the climate control according to environmental conditions.

19.- KNX Fan Coil Control:

- Connection and configuration of four-pipe and two-pipe KNX fan coil controllers.

- Adjustment of ventilation and temperature parameters.

20.- Room Simulation with Temperature Simulator Box:

- Use of the room temperature simulator box to simulate various conditions.

- Evaluation of the response of the air conditioning system to simulated changes.

21.- Variable Frequency Drive for Ventilation Control Simulation:

- Connection and configuration of the variable frequency drive to simulate ventilation control.

- Adjustment of speeds and monitoring of the system behavior.

22.- Induction Motor for Fan Simulation:

- Integration and programming of the induction motor to simulate a fan.

-  Verification of system performance under load conditions.

23.- Circuit Breakers in Climate Control:

- Connection and integration of circuit breakers for additional control.

- Configuration of on/off scenarios and conditions.

24.- Monitoring with Analog Voltmeters:

- Use of 0-10V analog voltmeters for monitoring climate control signals.

- Verification and adjustment of voltage levels in the system.

25.- Adjustment of Parameters from the Controller with Touch Screen:

- Performing HVAC parameter adjustments from the touch screen controller.

- Exploring advanced functions and scenario configuration.

Creating Projects in ETS and Topology Definition:

26.- Creation of a new project in ETS:

- Development of a new project from scratch with ETS software.

- Definition of general features and establishment of basic topology of the KNX system.

27.- Definition of the Bus Topology:

- Configuration of the KNX bus topology.

- Identification of devices and establishment of physical addresses.

- Application of good design practices.

28.- Assignment of Physical Addresses:

- Assignment of physical addresses to KNX devices in the project.

- Follow-up of addressing standards and recommendations.

29.- Topology Verification:

- Verification of configuration consistency.

- Compliance with KNX system requirements.

KNX Device Diagnostics:

30.- Use of Diagnostic Tools:

- Use of diagnostic tools in the ETS software to verify communication and status of KNX devices.

31.- Communication Testing:

- Performing communication tests between KNX devices and the bus.

- Identification and resolution of possible connection problems.

32.- Telegram Analysis:

- Analysis of telegrams sent and received by KNX devices.

- Identification of possible errors or interferences in the network.

33.- Error Diagnostics:

- Diagnosis and troubleshooting of configuration or connection errors in KNX devices.

- Use of diagnostic tools available in the ETS software.

34.- Event Logging:

- Use of event logging functions to monitor and analyze the behavior of KNX devices under different operating conditions.

Some practical possibilities with Wiring Installation Training for Blinds with KNX, “WIT-KNX-BC”:

35.- Basic Integration of the Blinds Control System:

- Connection of the electrical distribution box for KNX devices in the blind control system.

- Application of wiring techniques to ensure a safe installation.

36.- Connection of the KNX Room Controller:

- Integration of the KNX room controller for centralized blind control.

- Configuration of functions and programming of scenarios.

37.- Connection of the KNX Binary Input Module:

- Connection and integration of the KNX binary input module to detect the status of the blinds.

- Programming of actions according to the detected status.

38.- Connection of KNX Binary Output Module for Blinds Control:

- Connection and configuration of the KNX binary output module for the effective control of the blinds.

- Adjustment of response times and configuration of positions.

39.- Use of KNX brightness sensors:

- Connection and integration of KNX brightness sensors for automatic adjustment of blinds according to lighting.

- Programming of thresholds and conditions.

40.- Connection of Push Button Module for Manual Interaction:

- Integration of KNX pushbutton modules to allow manual interaction with the blinds.

- Programming of up, down and stop functions.

41.- Shutter Motor: Connection and Integration:

- Connection and programming of the shutter motor.

- Evaluation of system performance under various conditions.

ETS Project Creation and Topology Definition:

42.- Creation of a New Project in ETS:

- Development of a new project from scratch with ETS software.

- Definition of general characteristics and establishment of the basic topology of the KNX system.

43.- Definition of the Bus Topology:

- Configuration of the KNX bus topology.

- Identification of devices and establishment of physical addresses.

- Application of good design practices.

44.- Physical Address Assignment:

- Assignment of physical addresses to KNX devices in the project.

- Follow-up of addressing standards and recommendations.

45.- Topology Verification:

- Verification of configuration consistency.

- Compliance with KNX system requirements.

KNX Device Diagnostics:

46.- Use of Diagnostic Tools:

- Use of diagnostic tools in the ETS software to verify communication and status of KNX devices.

47.- Communication Testing:

- Performing communication tests between KNX devices and the bus.

- Identification and resolution of possible connection problems.

48.- Telegram Analysis:

- Analysis of telegrams sent and received by KNX devices.

- Identification of possible errors or interferences in the network.

49.- Error Diagnostics:

- Diagnosis and troubleshooting of configuration or connection errors in KNX devices.

- Use of diagnostic tools available in the ETS software.

50.- Event Logging:

- Use of event logging functions to monitor and analyze the behavior of KNX devices under different operating conditions.

Some practical possibilities Wiring Installation Training for Security with KNX: Fire, Intrusion Prevention, Floods, etc., “WIT-KNX-SFC”:

51.- Basic Integration of the KNX Security System:

- Connection of the electrical distribution box for KNX devices in the security system.

- Application of wiring techniques to ensure a safe installation.

52.- Connection of the KNX Room Controller:

- Integration of the KNX room controller for centralized control of security functions.

- Configuration of functions and programming of security scenarios.

53.- Connection of the KNX Binary Input Module:

- Connection and integration of the KNX binary input module for detecting security events.

- Programming of actions based on detected states.

54.- Connection of KNX Binary Output Module for Control of Safety Devices:

- Connection and configuration of KNX binary output module for effective control of safety devices.

- Adjustment of response times and activation settings.

55.- Use of KNX brightness sensors in safety:

- Connection and integration of KNX brightness sensors to automatically adjust lighting in safety situations.

- Programming of thresholds and specific conditions.

56.- Simulation of scenarios with Buzzer Box:

- Use of the buzzer box to simulate alarm situations and evaluate the response of the security system.

- Adjustment of responses according to different events.

57.- Connection and Integration of Intrusion Detectors and Security Zones:

- Connection and programming of KNX intrusion detectors and security zones.

- Configuration of actions in case of intrusion detection.

58.- Connection of Sirens and Alarms:

- Integration and configuration of sirens and alarms for emergency situations.

- Adjustment of sound levels and activation.

59.- Connection of KNX Smoke and Fire Detectors:

- Integration and programming of smoke and fire detectors in the KNX system.

- Configuration of automatic responses and notifications.

60.- Connection of KNX Temperature and Presence Detectors:

- Integration and configuration of temperature and presence detectors for the security of the environment.

- Programming of actions in case of specific events.

61.- Connection of KNX Flood Detectors:

- Integration and programming of flood detectors for security against water damage.

- Configuration of automatic responses.

Creation of projects in ETS and definition of topology:

62.- Creation of a new project in ETS:

- Development of a new project from scratch with ETS software.

- Definition of general characteristics and establishment of the basic topology of the KNX system.

63.- Definition of the Bus Topology:

- Configuration of the KNX bus topology.

- Identification of devices and establishment of physical addresses.

-  Application of good design practices.

64.- Physical Address Assignment:

- Assignment of physical addresses to KNX devices in the project.

- Follow-up of addressing standards and recommendations.

65.- Topology Verification:

- Verification of configuration consistency.

- Compliance with KNX system requirements.

KNX Device Diagnostics:

66.- Use of Diagnostic Tools:

- Use of diagnostic tools in the ETS software to verify communication and status of KNX devices.

67.- Communication Testing:

- Performing communication tests between KNX devices and the bus.

- Identification and resolution of possible connection problems.

68.- Telegram Analysis:

- Analysis of telegrams sent and received by KNX devices.

- Identification of possible errors or interferences in the network.

69.- Error Diagnostics:

- Diagnosis and troubleshooting of configuration or connection errors in KNX devices.

- Use of diagnostic tools available in the ETS software.

70.- Event Logging:

- Use of event logging functions to monitor and analyze the behavior of KNX devices under different operating conditions.

Some practical possibilities Wiring Installation Training for Building Control via BMS “WIT-KNX-BMS”:

71.- Basic Integration of the BMS System with KNX:

- Connection of the electrical distribution box for KNX and BMS devices.

- Application of wiring techniques to ensure efficient integration of both systems.

72.- Creation of a new BMS project in ETS:

- Development of a new BMS project from scratch in ETS software.

- Definition of general features and establishment of the basic topology of the KNX building management system.

73.- Definition of the BMS Bus Topology:

- Configuration of the KNX bus topology in the context of the BMS system.

- Identification of devices and assignment of physical addresses.

74.- Physical Address Assignment in the BMS Project:

- Assignment of physical addresses to KNX devices within the BMS project.

- Compliance with standards and recommendations for effective addressing.

75.- Integration of Environmental Sensors in the BMS System:

- Connection and integration of temperature, humidity and other environmental sensors.

- Programming of automatic responses in the KNX system to manage the building environment.

76.- Advanced Lighting Control with BMS:

- Configuration of a BMS controller for advanced management of the KNX lighting system.

- Scenario programming and adjustment of lighting parameters.

77.- Integration of HVAC systems with KNX:

- Connection and integration of HVAC systems into the KNX system via the BMS.

- Adjustment of temperature parameters and programming of schedules.

78.- Efficient Blinds Management:

- Configuration of KNX actuators for efficient blind management in collaboration with the BMS system.

- Programming of schedules and automatic responses.

79.- Energy Consumption Monitoring:

- Connection of energy meters and configuration of energy consumption monitoring in the BMS system.

- Programming of alarms and data visualization.

80.- Security Systems Integration:

- Connection and integration of security systems (alarms) with the KNX system through the BMS.

- Configuration of automatic responses in case of security events.

81.- Common Space Management:

- Configuration of BMS controllers for the management of common spaces such as meeting rooms, corridors, etc.

- Programming of specific scenarios and functions.

82.- Use of BMS Diagnostic Tools in ETS:

- Exploration of diagnostic tools in ETS software to monitor and diagnose the KNX network in the context of the BMS.

- Event analysis and diagnostic logging.

83.- Simulation of Complex Scenarios in Building Management:

- Creation and simulation of complex scenarios involving different systems managed by the BMS and KNX.

- Evaluation of system behavior under various conditions.

- Several other exercises can be done and designed by the user.

Optional

WIT-KNX/ICAI. Interactive Computer Aided Instruction Software:

This complete software package consists of an Instructor Software (EDIBON Classroom Manager - ECM-SOF) totally integrated with the Student Software (EDIBON Student Labsoft - ESL-SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

- ECM-SOF. EDIBON Classroom Manager (Instructor Software).

ECM-SOF is the application that allows the Instructor to register students, manage and assign tasks for workgroups, create own content to carry out Practical Exercises, choose one of the evaluation methods to check the Student knowledge and monitor the progression related to the planned tasks for individual students, workgroups, units, etc... so the teacher can know in real time the level of understanding of any student in the classroom.

Innovative features:

• User Data Base Management.

• Administration and assignment of Workgroup, Task and Training sessions.

• Creation and Integration of Practical Exercises and Multimedia Resources.

• Custom Design of Evaluation Methods.

• Creation and assignment of Formulas & Equations.

• Equation System Solver Engine.

• Updatable Contents.

• Report generation, User Progression Monitoring and Statistics.

- ESL-SOF. EDIBON Student Labsoft (Student Software).

ESL-SOF is the application addressed to the Students that helps them to understand theoretical concepts by means of practical exercises and to prove their knowledge and progression by performing tests and calculations in addition to Multimedia Resources. Default planned tasks and an Open workgroup are provided by EDIBON to allow the students start working from the first session. Reports and statistics are available to know their progression at any time, as well as explanations for every exercise to reinforce the theoretically acquired  technical knowledge.

Innovative features:

• Student Log-In & Self-Registration.

• Existing Tasks checking & Monitoring.

• Default contents & scheduled tasks available to be used from the first session.

• Practical Exercises accomplishment by following the Manual provided by EDIBON.

• Evaluation Methods to prove your knowledge and progression.

• Test self-correction.

• Calculations computing and plotting.

• Equation System Solver Engine.

• User Monitoring Learning & Printable Reports.

• Multimedia-Supported auxiliary resources.